## Plant Analysis Worksheet (hidden)
Central Plant Energy Analysis - Basic |  | LEGEND | Enter Information | Auto Calculated | [5 empty] | NOTES | no energy balance calculations undertaken in this basic analysis
intended as a simple tool for total plant energy performance, to follow would be a more detailed analysis taking into account varied humidity ratios, baseline, etc etc
Central Plant Control System BUDGET Cost | 87147.2 |  | Greenmark Hardware | No | [5 empty] | towers to assume they are rated to WBT + 10F / 5.5C
Central Plant Control System Type | Full Automation |  | Supply Meas. Hardware | Yes | [5 empty] | cooling tower fan power is calculated as maximum allowable for ASHRAE 90.1 Section G 2013 (40 watts per GPM)
Project Location | #NAME? |  | Project Region | #NAME? | [5 empty] | condenser water pump power is calculated as maximum allowable for ASHRAE 90.1 Section G 2013 (19 watts per GPM)
Design Day DBT | #NAME? | [8 empty] | pumps to assume that they run one to one ~ optimised sequencing to be undertaken in more advanded energy analysis tool
Design Day WBT | #NAME? | [8 empty] | towers assumed to be installed in parallel
Design Day Range | #NAME? | [8 empty] | analysis is primary only systems ~ primary secondary can be added at a later date, needs more than standard inputs
Average Humidity (%) | #NAME? |  | CENTRAL PLANT PERFORMANCE
Project Conditions |  |  | Percent Capacity | Hours per Year | Percent Time at Load | Mean Dry Bulb Temperature | Cooling Load | Mean Wet Bulb Temperature | Leaving Chilled Water Set point | Number Chillers To Run | Total Chiller kW | Required Chilled Water Field Flow | Chilled Water Pump % | CHWP kW | Number CWP Online | Entering Condenser H2O Temp | Leaving Condenser H2O Temp | Total Condenser Flow | Condenser Pump % | CWP kW | Number Cooling Towers Online | Total Heat Rejected (THR) | Tower Fan Speed | Ct kW
Plant Type | Water Cooled |  | 100% | #NAME? | #NAME? | 38 | 1300 | 29.949 | 6 | 2 | 225.1643 | 51.7475 | 93.8% | 7.5684 | 2 | 34.5275 | 39.1885 | 66.6131 | 100 | 45.4219 | 2 | 1534 | 100% | 42.4439
System Size | #REF! |  | 90% | #NAME? | #NAME? | 36.1 | 1170 | 28.3227 | 6 | 2 | 205.903 | 46.5727 | 93.61% | 6.8116 | 2 | 34.1099 | 38.8513 | 58.9357 | 88.4746 | 32.324 | 2 | 1357.2 | 88.47% | 29.3948
System Type | Full Variable |  | 80% | #NAME? | #NAME? | 34.2 | 1040 | 26.7026 | 6 | 2 | 173.3006 | 41.398 | 93.42% | 6.0548 | 2 | 32.2581 | 37.0827 | 51.484 | 77.2881 | 22.2591 | 2 | 1185.6 | 77.29% | 19.5954
Chw Inlet T | 12 |  | 70% | #NAME? | #NAME? | 32.3 | 910 | 25.0884 | 6 | 2 | 143.4806 | 36.2232 | 93.23% | 5.2979 | 2 | 30.4647 | 35.332 | 44.6534 | 67.0339 | 15.0898 | 2 | 1028.3 | 67.03% | 12.7849
Chw Outlet T | 6 |  | 60% | #NAME? | #NAME? | 30.4 | 780 | 23.4798 | 6 | 2 | 117.1797 | 31.0485 | 93.04% | 4.5411 | 2 | 28.7532 | 33.7082 | 37.5969 | 56.4407 | 9.5094 | 1 | 865.8 | 100% | 21.2219
Cw Inlet T | 29.5 |  | 50% | #NAME? | #NAME? | 28.5 | 650 | 21.8762 | 6 | 2 | 97.2575 | 25.8737 | 92.85% | 3.7842 | 2 | 27.265 | 32.716 | 28.4799 | 42.7542 | 4.6364 | 1 | 655.85 | 85.51% | 13.2682
Cw Outlet T | 35 |  | 40% | #NAME? | #NAME? | 26.6 | 520 | 20.2772 | 6 | 2 | 74.6901 | 20.699 | 92.66% | 3.0274 | 2 | 25.5781 | 31.0345 | 22.7614 | 34.1695 | 2.6874 | 1 | 524.16 | 68.34% | 6.7731
|  |  | 30% | #NAME? | #NAME? | 24.7 | 390 | 18.6819 | 6 | 1 | 49.5504 | 15.5242 | 92.47% | 2.2705 | 1 | 23.9192 | 29.3756 | 17.071 | 51.2542 | 6.919 | 1 | 393.12 | 51.25% | 2.8574
Equipment |  |  | 20% | #NAME? | #NAME? | 22.8 | 260 | 17.0895 | 6 | 1 | 33.7143 | 10.3495 | 92.28% | 1.5137 | 1 | 22.282 | 27.7329 | 11.392 | 34.2034 | 2.5745 | 1 | 262.34 | 34.2% | 0.84917
No. Chillers | 2 |  | 10% | #NAME? | #NAME? | 20.9 | 130 | 15.499 | 6 | 1 | 18.871 | 5.1747 | 92.09% | 0.75684 | 1 | 20.5083 | 25.5083 | 6.2097 | 30 | 0.74396 | 1 | 143 | 30% | 0.57299
No. Chwp | 2 |  |  | #NAME? | #NAME?
No. Cwp | 2
No. Towers | 2
Chiller Model | #REF!
Chiller Capacity | 159
|  |  |  | POWER TOTALS | [5 empty] | EQUIPMENT PERFORMANCE | [5 empty] | PLANT PERFORMANCE |  |  | TOTAL ENERGY USAGE
|  |  |  | Total Chiller kW | Total Chwp kW | Total Cwp kW | Total Ct kW | Total Plant kW |  | Chiller COP | Chiller kW/Ton | Chwp kW/Ton | Cwp kW/Ton | CTF kW/Ton |  | Total Plant COP | Total Plant kW/Ton |  | kWhR Hours | TonR Hours | Chiller kWh | Chwp kWh | Cwp kWh | Ct kWh | Total kWh
|  |  |  | 225.1643 | 7.5684 | 45.4219 | 42.4439 | 320.5985 |  | 5.7736 | 0.60916 | 0.01838 | 0.11031 | 0.10307 |  | 4.0549 | 0.86734 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 205.903 | 6.8116 | 32.324 | 29.3948 | 274.4334 |  | 5.6823 | 0.61894 | 0.01838 | 0.08722 | 0.079316 |  | 4.2633 | 0.82494 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 173.3006 | 6.0548 | 22.2591 | 19.5954 | 221.2098 |  | 6.0011 | 0.58606 | 0.01838 | 0.067569 | 0.059483 |  | 4.7014 | 0.74807 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 143.4806 | 5.2979 | 15.0898 | 12.7849 | 176.6532 |  | 6.3423 | 0.55453 | 0.01838 | 0.05235 | 0.044354 |  | 5.1513 | 0.68274 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 117.1797 | 4.5411 | 9.5094 | 21.2219 | 152.4521 |  | 6.6564 | 0.52836 | 0.01838 | 0.038489 | 0.085894 |  | 5.1164 | 0.6874 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 97.2575 | 3.7842 | 4.6364 | 13.2682 | 118.9464 |  | 6.6833 | 0.52624 | 0.01838 | 0.022519 | 0.064443 |  | 5.4646 | 0.64359 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 74.6901 | 3.0274 | 2.6874 | 6.7731 | 87.178 |  | 6.9621 | 0.50516 | 0.01838 | 0.016316 | 0.041121 |  | 5.9648 | 0.58963 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 49.5504 | 2.2705 | 6.919 | 2.8574 | 61.5974 |  | 7.8708 | 0.44684 | 0.01838 | 0.056008 | 0.02313 |  | 6.3314 | 0.55548 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 33.7143 | 1.5137 | 2.5745 | 0.84917 | 38.6517 |  | 7.7119 | 0.45605 | 0.01838 | 0.031261 | 0.010311 |  | 6.7267 | 0.52284 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 18.871 | 0.75684 | 0.74396 | 0.57299 | 20.9448 |  | 6.8889 | 0.51053 | 0.01838 | 0.018067 | 0.013915 |  | 6.2068 | 0.56664 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[19 empty] | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[21 empty] | #NAME? | #NAME? | #NAME? | #NAME?
[21 empty] | Annual Plant COP |  |  | #NAME?
[21 empty] | Annual Plant kW/Ton |  |  | #NAME?
[23 empty] | Benchmark Plant COP | 5.3
[23 empty] | Benchmark Plant kW/Ton | 0.79
Savings Summary
[23 empty] | Savings (%) over Benchmark Performance Target (Metric) | 3.449%
[23 empty] | Savings (%) over Benchmark Performance Target(Imperial) | 18.9%
[23 empty] | Estimated Baseline Plant kWh | #NAME?
[23 empty] | Savings (kWh) Over Estimated Basline | #NAME?
[23 empty] | Savings ($) Over Estimated Baseline | #NAME?
[23 empty] | Simple ROI (Years) on CPECS Equipment Supply & Commissioning | #NAME?

## Retail_Chw Sale Model (hidden)
LEGEND
requires input
METRIC Units |  |  |  |  | auto calculated
Chilled Water Plant - CHW Sale Summary | [8 empty] | METRIC
[9 empty] | 5-Year Analysis |  |  |  | 10-Year Analysis |  |  |  | 15-Year Analysis |  |  |  | 20-Year Analysis
| Charge Rate ($ per kWh) | Plant Performance (COP) | Cost of Production (kWh(R)) | Annual Cost of Operation ($) | [5 empty] | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation
Year 1 | 0.09 | 6.3738 | 0.01412 | #NAME? |  | Chiller kWh Consumption % | #NAME? |  | Smardt | 0.014783 | #NAME? | #NAME? | Smardt | 0.01567 | #NAME? | #NAME? | Smardt | 0.016628 | #NAME? | #NAME? | Smardt | 0.017663 | #NAME? | #NAME?
Year 2 | 0.0918 | 6.3556 | 0.014444 | #NAME? |  | Rest of Plant kWh Consumption % | #NAME? |  | Competitor | 0.015002 | #NAME? | #NAME? | Competitor | 0.01621 | #NAME? | #NAME? | Competitor | 0.017547 | #NAME? | #NAME? | Competitor | 0.019029 | #NAME? | #NAME?
Year 3 | 0.093636 | 6.3374 | 0.014775 | #NAME? |  |  |  |  | Savings | 0.00021971 | #NAME? | #NAME? | Savings | 0.00054032 | #NAME? | #NAME? | Savings | 0.00091957 | #NAME? | #NAME? | Savings | 1.0014 | #NAME? | #NAME?
Year 4 | 0.095509 | 6.3193 | 0.015114 | #NAME? |  | Pump, Cooling Tower Annual Efficiency Decrease | 1%
Year 5 | 0.097419 | 6.3012 | 0.01546 | #NAME?
Year 6 | 0.099367 | 6.2832 | 0.015815 | #NAME? |  | Annual Year One (1) Plant Efficiency | #NAME? | COP
Year 7 | 0.10135 | 6.2653 | 0.016177 | #NAME?
Year 8 | 0.10338 | 6.2474 | 0.016548 | #NAME? |  | CHW Sell Price ($ per kWhR) | 0.31
Year 9 | 0.10545 | 6.2295 | 0.016927 | #NAME? |  | Expected Lifecycle Average Profit Margin | 0.29234
Year 10 | 0.10756 | 6.2117 | 0.017315 | #NAME?
Year 11 | 0.10971 | 6.1939 | 0.017712 | #NAME? |  | Modelled Cooling Hours (Annual) | #NAME?
Year 12 | 0.1119 | 6.1762 | 0.018118 | #NAME?
Year 13 | 0.11414 | 6.1586 | 0.018534 | #NAME? |  | Estimated Lifecycle Profit | #NAME?
Year 14 | 0.11642 | 6.141 | 0.018959 | #NAME? |  |  | ** this is based on analysis period selected
Year 15 | 0.11875 | 6.1234 | 0.019393 | #NAME?
Year 16 | 0.12113 | 6.1059 | 0.019838 | #NAME?
Year 17 | 0.12355 | 6.0885 | 0.020293 | #NAME?
Year 18 | 0.12602 | 6.0711 | 0.020758 | #NAME?
Year 19 | 0.12854 | 6.0537 | 0.021234 | #NAME?
Year 20 | 0.13111 | 6.0364 | 0.02172 | #NAME?
|  | Lifecycle Average | 0.017663 | #NAME? | Total
IMPERIAL Units
Chilled Water Plant - CHW Sale Summary | [8 empty] | IMPERIAL
[9 empty] | 5-Year Analysis |  |  |  | 10-Year Analysis |  |  |  | 15-Year Analysis |  |  |  | 20-Year Analysis
| Charge Rate ($ per kWh) | Plant Performance (kW/Ton) | Cost of Production (kWh(TR)) | Annual Cost of Operation ($) | [5 empty] | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation |  | Avg. Cost of Chilled Water Production ($ per kWh(R)) | Avg. Annual Cost of Operation | Total Cost of Operation
Year 1 | 0.09 | 0.55179 | 0.049661 | #NAME? |  | Chiller kWh Consumption % | #NAME? |  | Smardt | 0.051991 | #NAME? | #NAME? | Smardt | 0.05511 | #NAME? | #NAME? | Smardt | 0.058479 | #NAME? | #NAME? | Smardt | 0.06212 | #NAME? | #NAME?
Year 2 | 0.0918 | 0.55337 | 0.050799 | #NAME? |  | Rest of Plant kWh Consumption % | #NAME? |  | Competitor | 0.052763 | #NAME? | #NAME? | Competitor | 0.05701 | #NAME? | #NAME? | Competitor | 0.061713 | #NAME? | #NAME? | Competitor | 0.066925 | #NAME? | #NAME?
Year 3 | 0.093636 | 0.55496 | 0.051964 | #NAME? |  |  |  |  | Savings | 0.00077271 | #NAME? | #NAME? | Savings | 0.0019003 | #NAME? | #NAME? | Savings | 0.0032341 | #NAME? | #NAME? | Savings | 0.0048055 | #NAME? | #NAME?
Year 4 | 0.095509 | 0.55655 | 0.053155 | #NAME? |  | Pump, Cooling Tower Annual Efficiency Decrease | 1%
Year 5 | 0.097419 | 0.55814 | 0.054374 | #NAME?
Year 6 | 0.099367 | 0.55974 | 0.05562 | #NAME? |  | Annual Year One (1) Plant Efficiency | #NAME? | kW/Ton
Year 7 | 0.10135 | 0.56135 | 0.056895 | #NAME?
Year 8 | 0.10338 | 0.56296 | 0.058199 | #NAME? |  | CHW Sell Price ($ per TonR) | 1.0903
Year 9 | 0.10545 | 0.56457 | 0.059534 | #NAME? |  | Expected Lifecycle Average Profit Margin | 1.0282
Year 10 | 0.10756 | 0.56619 | 0.060898 | #NAME?
Year 11 | 0.10971 | 0.56781 | 0.062294 | #NAME? |  | Modelled Cooling Hours (Annual) | #NAME?
Year 12 | 0.1119 | 0.56944 | 0.063722 | #NAME?
Year 13 | 0.11414 | 0.57107 | 0.065183 | #NAME? |  | Estimated Lifecycle Profit | #NAME?
Year 14 | 0.11642 | 0.57271 | 0.066677 | #NAME? |  |  | ** this is based on analysis period selected
Year 15 | 0.11875 | 0.57435 | 0.068206 | #NAME?
Year 16 | 0.12113 | 0.576 | 0.069769 | #NAME?
Year 17 | 0.12355 | 0.57765 | 0.071369 | #NAME?
Year 18 | 0.12602 | 0.5793 | 0.073005 | #NAME?
Year 19 | 0.12854 | 0.58096 | 0.074678 | #NAME?
Year 20 | 0.13111 | 0.58263 | 0.07639 | #NAME?
|  | Lifecycle Average | 0.06212 | #NAME? | Total
COMPETITOR - Oil Based Chiller
LEGEND
requires input
METRIC Units |  |  |  |  | auto calculated
Chilled Water Plant - CHW Sale Summary
| Charge Rate ($ per kWh) | Plant Performance (COP) | Cost of Production (kWh(R)) | Annual Cost of Operation ($)
Year 1 | 0.09 | 6.3738 | 0.01412 | #NAME? |  | Chiller kWh Consumption % | #NAME?
Year 2 | 0.0918 | 6.3101 | 0.014548 | #NAME? |  | Rest of Plant kWh Consumption % | #NAME?
Year 3 | 0.093636 | 6.247 | 0.014989 | #NAME?
Year 4 | 0.095509 | 6.1845 | 0.015443 | #NAME? |  | Pump, Cooling Tower Annual Efficiency Decrease | 1%
Year 5 | 0.097419 | 6.1227 | 0.015911 | #NAME?
Year 6 | 0.099367 | 6.0614 | 0.016393 | #NAME? |  | Annual Year One (1) Plant Efficiency | #NAME? | COP
Year 7 | 0.10135 | 6.0008 | 0.01689 | #NAME?
Year 8 | 0.10338 | 5.9408 | 0.017402 | #NAME? |  | CHW Sell Price ($ per kWhR) | 0.31
Year 9 | 0.10545 | 5.8814 | 0.017929 | #NAME? |  | Expected Lifecycle Average Profit Margin | 0.29097
Year 10 | 0.10756 | 5.8226 | 0.018473 | #NAME?
Year 11 | 0.10971 | 5.7644 | 0.019032 | #NAME? |  | Modelled Cooling Hours (Annual) | #NAME?
Year 12 | 0.1119 | 5.7067 | 0.019609 | #NAME?
Year 13 | 0.11414 | 5.6496 | 0.020203 | #NAME? |  | Estimated Lifecycle Profit | #NAME?
Year 14 | 0.11642 | 5.5932 | 0.020816 | #NAME? |  |  | ** this is based on analysis period selected
Year 15 | 0.11875 | 5.5372 | 0.021446 | #NAME?
Year 16 | 0.12113 | 5.4818 | 0.022096 | #NAME?
Year 17 | 0.12355 | 5.427 | 0.022766 | #NAME?
Year 18 | 0.12602 | 5.3728 | 0.023456 | #NAME?
Year 19 | 0.12854 | 5.3194 | 0.024165 | #NAME?
Year 20 | 0.13111 | 5.267 | 0.024893 | #NAME?
|  | Lifecycle Average | 0.019029 | #NAME? | Total
IMPERIAL Units
Chilled Water Plant - CHW Sale Summary
| Charge Rate ($ per kWh) | Plant Performance (kW/Ton) | Cost of Production (kWh(TR)) | Annual Cost of Operation ($)
Year 1 | 0.09 | 0.55179 | 0.049661 | #NAME? |  | Chiller kWh Consumption % | #NAME?
Year 2 | 0.0918 | 0.55736 | 0.051166 | #NAME? |  | Rest of Plant kWh Consumption % | #NAME?
Year 3 | 0.093636 | 0.56299 | 0.052716 | #NAME?
Year 4 | 0.095509 | 0.56868 | 0.054314 | #NAME? |  | Pump, Cooling Tower Annual Efficiency Decrease | 1%
Year 5 | 0.097419 | 0.57442 | 0.05596 | #NAME?
Year 6 | 0.099367 | 0.58023 | 0.057656 | #NAME? |  | Annual Year One (1) Plant Efficiency | #NAME? | kW/Ton
Year 7 | 0.10135 | 0.58609 | 0.059403 | #NAME?
Year 8 | 0.10338 | 0.59201 | 0.061203 | #NAME? |  | CHW Sell Price ($ per TonR) | 1.0903
Year 9 | 0.10545 | 0.59799 | 0.063057 | #NAME? |  | Expected Lifecycle Average Profit Margin | 1.0233
Year 10 | 0.10756 | 0.60403 | 0.064968 | #NAME?
Year 11 | 0.10971 | 0.61013 | 0.066937 | #NAME? |  | Modelled Cooling Hours (Annual) | #NAME?
Year 12 | 0.1119 | 0.61629 | 0.068965 | #NAME?
Year 13 | 0.11414 | 0.62252 | 0.071055 | #NAME? |  | Estimated Lifecycle Profit | #NAME?
Year 14 | 0.11642 | 0.6288 | 0.073208 | #NAME? |  |  | ** this is based on analysis period selected
Year 15 | 0.11875 | 0.63516 | 0.075427 | #NAME?
Year 16 | 0.12113 | 0.64157 | 0.077712 | #NAME?
Year 17 | 0.12355 | 0.64805 | 0.080067 | #NAME?
Year 18 | 0.12602 | 0.6546 | 0.082494 | #NAME?
Year 19 | 0.12854 | 0.66116 | 0.084987 | #NAME?
Year 20 | 0.13111 | 0.66774 | 0.08755 | #NAME?
|  | Lifecycle Average | 0.066925 | #NAME? | Total

## TCO Worksheet
TOTAL COST OF OWNERSHIP MODEL (TCOM)
PROJECT DATA
| Cooling Load (tons) | 159 |  | Discount Rate |  | 10% |  | System Costs
| Blended Electricity Rate | 0.09 |  | Finance Rate |  | 5%
| Commodity kWh Rate | 0 |  | Re-Investment Rate |  | 5% |  | Baseline |  | 130000 | [5 empty] | Maintenance Assumptions
| Demand kW Rate | 0 |  | L & M Escalation Rate |  | 3% |  | Smardt |  | 150000
| Ratchet Demand | 0% |  | Energy Escalation Rate |  | 2% |  | Rebate |  | 0 | [5 empty] | Smardt |  | $ | Frequency
| Units of Measure | IMPERIAL | FALSE |  |  |  |  | Financed Amount |  | 0 | [5 empty] | Prev Maint |  | 5500 | Annually | 5500
[8 empty] | Capital Difference |  | 20000 | [5 empty] | Smardt Major Service |  | 6000 | 15
[16 empty] | SS Condenser Options |  | 0 | Once
4 Point Load Profile
| Annual Hrs of Operation | 0 | 0 | 489.5 | 0
| Loads | 100% | 75% | 50% | 25%
| Load hours | 0 | 0 | 38915.25 | 0
| Baseline (kW/ton) | 1.067 | 0.986 | 0.867 | 0.8
| Smardt (kW/ton) | 0.9483 | 0.5482 | 0.2889 | 0.2564
| Baseline kWh | 0 | 0 | 33739.5217 | 0
| Smardt kWh | 0 | 0 | 11242.6157 | 0
|  | 10 Point Load Profile | [9 empty] | Total |  |  |  | Baseline
| Annual Hrs of Operation | 0 | 0 | 46.2 | 433.4 | 468.6 | 489.5 | 407 | 856.9 | 658.9 | 814 | 4174.5 |  |  |  | Prev Maint |  | 6500 | Annually | 6500
| Loads | 100% | 90% | 80% | 70% | 60% | 50% | 40% | 30% | 20% | 10% |  |  |  |  | Baseline Major Service |  | 50000 | 10
| Load hours | 0 | 0 | 5876.64 | 48237.42 | 44704.44 | 38915.25 | 25885.2 | 40874.13 | 20953.02 | 12942.6 | 238388.7 |  |  |  | Oil Filter Changes |  | 500 | Annually | 500
| Baseline (kW/ton) | 1.067 | 1.0312 | 0.9944 | 0.9576 | 0.9208 | 0.867 | 0.8472 | 0.8104 | 0.7736 | 0.7368 |  |  |  |  | Oil Analysis |  | 0 | Annually | 0
| Smardt (kW/ton) | 0.9483 | 0.7673 | 0.6739 | 0.5805 | 0.4871 | 0.2889 | 0.3003 | 0.2069 | 0.1135 | 0.0201 |  |  |  |  | Oil Change |  | 200 | 1
| Baseline kWh | 0 | 0 | 5843.7308 | 46192.1534 | 41163.8484 | 33739.5217 | 21929.9414 | 33124.395 | 16209.2563 | 9536.1077 | 207738.9547 |  |  |  | Vibration Analysis |  | 400 | Annually | 400
| Smardt kWh | 0 | 0 | 3960.2677 | 28001.8223 | 21775.5327 | 11242.6157 | 7773.3256 | 8456.8575 | 2378.1678 | 260.1463 | 83848.7355 |  |  |  | Corrosion Mitigation |  | 0 | Once | 0
[18 empty] | 0 | Annually
|  | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
|  | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24 | $L$24:$M$24
|  | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26 | $L$26:$M$26
|  | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27 | $L$27:$M$27
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total / Year |  | Immediate Repair Cost |  | 0 | Once
| Peak Load Profile | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ratchet Peak Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Oil System Energy Values
% of Full Load | bar: Jan to Dec
| Baseline Perf @ Ratchet Peak | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 |  |  | Description |  | Baseline | Smardt
| Smardt Perf @ Ratchet Peak | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 | -0.0733 |  |  | Annual Operating Hours |  | 4585.5 | 0
| Baseline Chiller kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Oil System Power (Watts) |  | 0 | 0
| Smardt Chiller kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Energy Values
|  | Cost of Energy (COE) - Chiller 10 Point Breakdown (Standard Load Profile) | [9 empty] | COE Total
| Baseline | 0 | 0 | 525.9358 | 4157.2938 | 3704.7464 | 3036.557 | 1973.6947 | 2981.1955 | 1458.8331 | 858.2497 | 18696.5059 |  |  |  | Description |  | Baseline | Smardt
| Smardt | 0 | 0 | 356.4241 | 2520.164 | 1959.7979 | 1011.8354 | 699.5993 | 761.1172 | 214.0351 | 23.4132 | 7546.3862 |  |  |  | Annual Operating Hours |  | 4174.5 | 4174.5
[16 empty] | Evap Pressure Drop (Ft) |  | 0 | 0
|  | Jan: Baseline COE; Sep: Smardt COE |  |  | Evap Flow (gpm) |  | 0 | 0
|  | kWh | kW | $ - kWh | $ - kW | Total $ |  |  |  | kWh | kW | $ - kWh | $ - kW | Total $ |  | Cond Pressure Drop (Ft) |  | 0 | 0
| Chiller | 207738.9547 | 0 | 18696.5059 | 0 | 18696.5059 |  | Chiller |  | 83848.7355 | 0 | 7546.3862 | 0 | 7546.3862 |  | Cond Flow (gpm) |  | 0 | 0
| Chilled Water Pumping | 0 | 0 | 0 | 0 | 0 |  | Chilled Water Pumping |  | 0 | 0 | 0 | 0 | 0 |  | Pump Elec Efficiency (%) |  | 92% | 92%
| Condenser Water Pumping | 0 | 0 | 0 | 0 | 0 |  | Condenser Water Pumping |  | 0 | 0 | 0 | 0 | 0 |  | Pump Mech Efficiency (%) |  | 60% | 60%
| Oil Heater | Jan: 0; Mar: 0; Apr: 0; May: 0 |  |  | Assumes 92% electrical and 60% mechanical efficiency
BASELINE | TRANE RTWD
|  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Total
| Cost of Energy (COE) |  | 18696.5059 | 19070.436 | 19451.8448 | 19840.8817 | 20237.6993 | 20642.4533 | 21055.3023 | 21476.4084 | 21905.9366 | 22344.0553 | 22790.9364 | 23246.7551 | 23711.6902 | 24185.924 | 24669.6425 | 25163.0354 | 25666.2961 | 26179.622 | 26703.2144 | 27237.2787 | 454275.9183
| Degradation Schedule |  | 1% | 2% | 4% | 8% | 8% | 8% | 8% | 8% | 8% | 10% | 10% | 11% | 11% | 12% | 12% | 12% | 12% | 12% | 14% | 14%
| Loss of Eff - Oil Fouling |  | 186.9651 | 381.4087 | 778.0738 | 1587.2705 | 1619.0159 | 1651.3963 | 1684.4242 | 1718.1127 | 1752.4749 | 2234.4055 | 2279.0936 | 2557.1431 | 2608.2859 | 2902.3109 | 2960.3571 | 3019.5642 | 3079.9555 | 3141.5546 | 3738.45 | 3813.219 | 43693.4817
| Oil Heater |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chilled Water Pumping |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Condenser Water Pumping |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COE Adjusted |  | 18883.471 | 19451.8448 | 20229.9185 | 21428.1522 | 21856.7152 | 22293.8495 | 22739.7265 | 23194.5211 | 23658.4115 | 24578.4608 | 25070.03 | 25803.8982 | 26319.9761 | 27088.2349 | 27629.9996 | 28182.5996 | 28746.2516 | 29321.1766 | 30441.6644 | 31050.4977 | 497969.3999
| Maintenance |  | 7400 | 7622 | 7850.66 | 8086.1798 | 8328.7652 | 8578.6281 | 8835.987 | 9101.0666 | 9374.0986 | 9655.3216 | 9655.3216 | 9944.9812 | 10243.3306 | 10550.6306 | 10867.1495 | 11193.164 | 11528.9589 | 11874.8276 | 12231.0725 | 12598.0047 | 195520.148
| One Time PM Events | 0 | 206 | 212.18 | 218.5454 | 225.1018 | 231.8548 | 238.8105 | 245.9748 | 253.354 | 260.9546 | 67464.6022 | 276.8468 | 285.1522 | 293.7067 | 302.5179 | 311.5935 | 320.9413 | 330.5695 | 340.4866 | 350.7012 | 90666.784 | 163036.6778
| Baseline Subtotal |  | 26489.471 | 27286.0248 | 28299.1239 | 29739.4337 | 30417.3352 | 31111.2881 | 31821.6883 | 32548.9417 | 33293.4647 | 101698.3846 | 35002.1984 | 36034.0316 | 36857.0135 | 37941.3834 | 38808.7426 | 39696.7048 | 40605.78 | 41536.4909 | 43023.4381 | 134315.2864 | 856526.2258
| Cumulative COE + Maint |  | 26489.471 | 53775.4957 | 82074.6197 | 111814.0534 | 142231.3887 | 173342.6768 | 205164.3651 | 237713.3068 | 271006.7715 | 372705.1561 | 407707.3545 | 443741.386 | 480598.3996 | 518539.783 | 557348.5255 | 597045.2304 | 637651.0104 | 679187.5013 | 722210.9394 | 856526.2258 | 7576873.6606
3% | bar: 1 to 19
SMARDT | WB044
|  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Total
| Cost of Energy (COE) |  | 7546.3862 | 7697.3139 | 7851.2602 | 8008.2854 | 8168.4511 | 8331.8201 | 8498.4565 | 8668.4257 | 8841.7942 | 9018.6301 | 9199.0027 | 9382.9827 | 9570.6424 | 9762.0552 | 9957.2963 | 10156.4423 | 10359.5711 | 10566.7625 | 10778.0978 | 10993.6597 | 183357.3361
| Maintenance |  | 5500 | 5665 | 5834.95 | 6009.9985 | 6190.2985 | 6376.0074 | 6567.2876 | 6764.3063 | 6967.2354 | 7176.2525 | 7176.2525 | 7391.5401 | 7613.2863 | 7841.6849 | 8076.9354 | 8319.2435 | 8568.8208 | 8825.8854 | 9090.662 | 9363.3818 | 145319.0289
| Chilled Water Pumping |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Condenser Water Pumping |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| One Time PM Events | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9347.8045 | 0 | 0 | 0 | 0 | 0 | 9347.8045
| Smardt Subtotal |  | 13046.3862 | 13362.3139 | 13686.2102 | 14018.2839 | 14358.7496 | 14707.8275 | 15065.7442 | 15432.7319 | 15809.0296 | 16194.8826 | 16375.2552 | 16774.5228 | 17183.9287 | 17603.7401 | 27382.0363 | 18475.6857 | 18928.3919 | 19392.6479 | 19868.7597 | 20357.0416 | 338024.1695
| Cumulative COE + Maint |  | 13046.3862 | 26408.7001 | 40094.9103 | 54113.1942 | 68471.9438 | 83179.7713 | 98245.5155 | 113678.2474 | 129487.2771 | 145682.1596 | 162057.4148 | 178831.9376 | 196015.8663 | 213619.6064 | 241001.6426 | 259477.3284 | 278405.7203 | 297798.3682 | 317667.128 | 338024.1695 | 3255307.2878 | 4321566.3728
CASH FLOW
|  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Savings Schedule | 0 | 13443.0848 | 13923.7108 | 14612.9137 | 15721.1498 | 16058.5857 | 16403.4606 | 16755.9441 | 17116.2097 | 17484.4351 | 85503.502 | 18626.9432 | 19259.5088 | 19673.0849 | 20337.6433 | 11426.7063 | 21221.0191 | 21677.3881 | 22143.8429 | 23154.6784 | 113958.2448
| Cumulative Savings |  | 13443.0848 | 27366.7956 | 41979.7094 | 57700.8592 | 73759.4449 | 90162.9055 | 106918.8496 | 124035.0593 | 141519.4944 | 227022.9965 | 245649.9396 | 264909.4484 | 284582.5333 | 304920.1766 | 316346.8829 | 337567.902 | 359245.2901 | 381389.1331 | 404543.8114 | 518502.0562
An Embedded Service Contract (ESC) is when Smardt finances the difference in final price between the Smardt equipment and its competitor. However, in order to qualify as a service contract, we must also include the annual Preventative Maintenance fee. Therefore, the ESC is the annual finance amount plus the annual PM fee. Smardt offers this solution on projects where First Cost is a priority. Higher effiiciency HVAC equipment uses disruptive technology which in turn tends to be higher in price. Therefore, if the Client wishes to preserve its capital and move that portion of the premium for high efficiency equipment into Opex vs Capex, Smardt is able to do so through embedding the that financed portion into a service agreement which we call Embedded Service Contract.
EMBEDDED SERVICE CONTRACT
| Amount to be Financed | 0
| Interest Rate | 0%
| Term | 0
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Finance Payment |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0; 6: 0; 7: 0; 8: 0; 9: 0; 10: 0
| Annual PM Fee |  | 1: 5500; 2: 5665; 3: 5834.95; 4: 6009.9985; 5: 6190.2985; 6: 6376.0074; 7: 6567.2876; 8: 6764.3063; 9: 6967.2354; 10: 7176.2525
| Annual Cash Flow after Debt | 0 | 13443.0848 | 13923.7108 | 14612.9137 | 15721.1498 | 16058.5857 | 16403.4606 | 16755.9441 | 17116.2097 | 17484.4351 | 85503.502 | 18626.9432 | 19259.5088 | 19673.0849 | 20337.6433 | 11426.7063 | 21221.0191 | 21677.3881 | 22143.8429 | 23154.6784 | 113958.2448
| 10 yr IRR | #NUM!
| 20 Yr. IRR | #NUM!
|  | Year 1 Embedded Service Contract Amount: | 1: 0
|  | Year 2 Embedded Service Contract Amount: | 1: 0
|  | Year 3 Embedded Service Contract Amount: | 1: 0
|  | Year 4 Embedded Service Contract Amount: | 1: 0
|  | Year 5 Embedded Service Contract Amount: | 1: 0
|  | Year 6 Embedded Service Contract Amount: | 1: 0
|  | Year 7 Embedded Service Contract Amount: | 1: 0
|  | Year 8 Embedded Service Contract Amount: | 1: 0
|  | Year 9 Embedded Service Contract Amount: | 1: 0
|  | Year 10 Embedded Service Contract Amount: | 1: 0
|  | Total Embedded Service Contract Amount | 1: 0

## Sheet1 (hidden)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
new | 1 | 2 | 4 | 8 | 8 | 8 | 8 | 8 | 8 | 10 | 10 | 11 | 11 | 12 | 12 | 12 | 12 | 12 | 14 | 14
poor | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
average | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
fair | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 15
good | 4 | 4 | 5 | 5 | 6 | 6 | 8 | 8 | 10 | 10 | 12 | 12 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 15

## Proforma (2)
| Financial Summary |  |  |  | Financial Assumptions |  |  |  | Scope Summary
| Smardt Cost |  | -150000 |  | Discount Rate: |  | 10% |  | EEM 1 | Chiller Replacement
| TRANE RTWD |  | 130000 |  | Finance Rate |  | 5%
PROFORMA - Hopital Suroit | Rebates |  | 0 |  | Reinvestment Rate: |  | 5%
Hopital Suroit | Financed Amount |  | 0 |  | Electricity Inflation Rate |  | 3%
| Net Investment* |  | -20000 |  | Maintenance Inflation |  | 3%
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
CASH OUTFLOWS
Net Investment* | -20000
Debt Service ESC** |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Preventative Maintenance | 0 | -5500 | -5665 | -5834.95 | -6009.9985 | -6190.2985 | -6376.0074 | -6567.2876 | -6764.3063 | -6967.2354 | -7176.2525 | -7176.2525 | -7391.5401 | -7613.2863 | -7841.6849 | -8076.9354 | -8319.2435 | -8568.8208 | -8825.8854 | -9090.662 | -9363.3818
Major Maintenance Events | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9347.8045 | 0 | 0 | 0 | 0 | 0
SUBTOTAL OUTFLOWS | -20000 | -5500 | -5665 | -5834.95 | -6009.9985 | -6190.2985 | -6376.0074 | -6567.2876 | -6764.3063 | -6967.2354 | -7176.2525 | -7176.2525 | -7391.5401 | -7613.2863 | -7841.6849 | -17424.7399 | -8319.2435 | -8568.8208 | -8825.8854 | -9090.662 | -9363.3818
CASH INFLOWS (Savings)
Chiller Energy |  | 11150.1197 | 11373.1221 | 11600.5846 | 11832.5962 | 12069.2482 | 12310.6331 | 12556.8458 | 12807.9827 | 13064.1424 | 13325.4252 | 13591.9337 | 13863.7724 | 14141.0478 | 14423.8688 | 14712.3462 | 15006.5931 | 15306.725 | 15612.8595 | 15925.1167 | 16243.619
Loss of Eff - Oil Fouling Energy |  | 186.9651 | 381.4087 | 778.0738 | 1587.2705 | 1619.0159 | 1651.3963 | 1684.4242 | 1718.1127 | 1752.4749 | 2234.4055 | 2279.0936 | 2557.1431 | 2608.2859 | 2902.3109 | 2960.3571 | 3019.5642 | 3079.9555 | 3141.5546 | 3738.45 | 3813.219
Oil Heater Energy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chilled Water Pump Energy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Condenser Water Pump Energy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Preventative Maintenance | 0 | 7400 | 7622 | 7850.66 | 8086.1798 | 8328.7652 | 8578.6281 | 8835.987 | 9101.0666 | 9374.0986 | 9655.3216 | 9655.3216 | 9944.9812 | 10243.3306 | 10550.6306 | 10867.1495 | 11193.164 | 11528.9589 | 11874.8276 | 12231.0725 | 12598.0047
Major Maintenance Events | 0 | 206 | 212.18 | 218.5454 | 225.1018 | 231.8548 | 238.8105 | 245.9748 | 253.354 | 260.9546 | 67464.6022 | 276.8468 | 285.1522 | 293.7067 | 302.5179 | 311.5935 | 320.9413 | 330.5695 | 340.4866 | 350.7012 | 90666.784
SUBTOTAL INFLOWS | 0 | 18943.0848 | 19588.7108 | 20447.8637 | 21731.1483 | 22248.8841 | 22779.468 | 23323.2318 | 23880.516 | 24451.6705 | 92679.7545 | 25803.1957 | 26651.0488 | 27286.3712 | 28179.3282 | 28851.4462 | 29540.2626 | 30246.2089 | 30969.7284 | 32245.3404 | 123321.6266
Savings Recovery Percentage | 100%
Annual Cash Flow | -20000 | 13443.0848 | 13923.7108 | 14612.9137 | 15721.1498 | 16058.5857 | 16403.4606 | 16755.9441 | 17116.2097 | 17484.4351 | 85503.502 | 18626.9432 | 19259.5088 | 19673.0849 | 20337.6433 | 11426.7063 | 21221.0191 | 21677.3881 | 22143.8429 | 23154.6784 | 113958.2448
Cumulative Cash Flow | -20000 | -6556.9152 | 7366.7956 | 21979.7094 | 37700.8592 | 53759.4449 | 70162.9055 | 86918.8496 | 104035.0593 | 121519.4944 | 207022.9965 | 225649.9396 | 244909.4484 | 264582.5333 | 284920.1766 | 296346.8829 | 317567.902 | 339245.2901 | 361389.1331 | 384543.8114 | 498502.0562
Cumulative Cash Flows | -20000 | -6556.9152 | 7366.7956 | 21979.7094 | 37700.8592 | 53759.4449 | 70162.9055 | 86918.8496 | 104035.0593 | 121519.4944 | 207022.9965 | 225649.9396 | 244909.4484 | 264582.5333 | 284920.1766 | 296346.8829 | 317567.902 | 339245.2901 | 361389.1331 | 384543.8114 | 498502.0562
Present Value of Outflows | -20000 | -5000 | -4681.8182 | -4383.8843 | -4104.9098 | -3843.6883 | -3599.09 | -3370.057 | -3155.5988 | -2954.788 | -2766.756 | -2515.2327 | -2355.1725 | -2205.2979 | -2064.9607 | -4171.3442 | -1810.5098 | -1695.2955 | -1587.4131 | -1486.3959 | -1391.807
Present Value of Inflows | 0 | 17220.9862 | 16189.0172 | 15362.7827 | 14842.6667 | 13814.8066 | 12858.4158 | 11968.5057 | 11140.437 | 10369.8952 | 35732.0574 | 9043.8627 | 8491.8455 | 7903.8898 | 7420.4978 | 6906.8068 | 6428.8218 | 5984.0512 | 5570.1779 | 5272.3708 | 18330.974
Present Value of Savings | -20000 | 12220.9862 | 11507.199 | 10978.8984 | 10737.7569 | 9971.1183 | 9259.3259 | 8598.4488 | 7984.8382 | 7415.1073 | 32965.3014 | 6528.63 | 6136.673 | 5698.5919 | 5355.5371 | 2735.4626 | 4618.312 | 4288.7557 | 3982.7648 | 3785.9749 | 16939.167
Financial Returns | 0-YEAR | 1-YEAR | 2-YEAR | 3-YEAR | 4-YEAR | 5-YEAR | 6-YEAR | 7-YEAR | 8-YEAR | 9-YEAR | 10-YEAR | 11-YEAR | 12-YEAR | 13-YEAR | 14-YEAR | 15-YEAR | 16-YEAR | 17-YEAR | 18-YEAR | 19-YEAR | 20-YEAR
NPV *** |  | -7779.0138 | 3728.1852 | 14707.0836 | 25444.8405 | 35415.9587 | 44675.2846 | 53273.7333 | 61258.5715 | 68673.6788 | 101638.9802 | 108167.6102 | 114304.2832 | 120002.8751 | 125358.4122 | 128093.8749 | 132712.1869 | 137000.9426 | 140983.7074 | 144769.6823 | 161708.8493
IRR *** |  | -32.78% | 23.56% | 47.78% | 59.23% | 64.8% | 67.71% | 69.28% | 70.16% | 70.67% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72%
MIRR *** |  | -32.78% | 18.4% | 30.11% | 32.68% | 32.32% | 31.11% | 29.69% | 28.29% | 26.97% | 29.52% | 27.82% | 26.37% | 25.11% | 24.01% | 22.85% | 22% | 21.22% | 20.52% | 19.89% | 20.05%
SIR *** |  | 0.68884 | 1.1256 | 1.4317 | 1.6666 | 1.843 | 1.9794 | 2.0876 | 2.1749 | 2.2465 | 2.7566 | 2.7916 | 2.8221 | 2.848 | 2.871 | 2.7998 | 2.8184 | 2.8345 | 2.8486 | 2.8619 | 3.0432 | l
Simple Payback (Years) ^ | 1.4878
Cumulative Payback (Years) ^^ | 1.4709 | 1 | 0.47092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yeild | 67.22%
Footnote * Estimated Budgets do not represent final project costs. Total project costs may increase or decrease in final proposal.
Footnote ** ESC refers to Embedded Service Contract
Footnote *** Tax benefits are not included in this analysis. Potential Tax Impacts: Utility savings and O&M savings as taxable income.
Footnote ^ Simple Payback is calculated by dividing the Net Investment by Year 1 Annual Cash Flow.
Footnote ^^ Cumulative Payback calculates the amount of time, in years, is required to change the "Cumulative Cash Flow" from negative to positive.
This document constitutes confidential and proprietary information of Smardt Chiller Group Inc Any use, disclosure, reproduction or transmission of such information, without the express written consent of Smardt Chiller Group Inc. is strictly prohibited.
Note on G3: ====== ID#AAAAhZWR-_U Microsoft Office User (2022-10-04 15:28:35) Hurdle rate In capital budgeting, hurdle rate is the minimum rate that a company expects to earn when investing in a project. Hence the hurdle rate is also referred to as the company's required rate of return or target rate. In order for a project to be accepted, its internal rate of return must equal or exceed the hurdle rate.

## Save
SAVE | Step1 | [6 empty] | Step2 | [19 empty] | Step3 | [14 empty] | Step4 | [7 empty] | Step5 | [12 empty] | Step4 | Step2 | Step3
SaveName | Office | Agent | Project | Metric | FullLoad | BlendedElec | Fourpoint | CompMake | Model | Price | Maintenance | MainMajor | Oil | New | Cond | COP100 | COP90 | COP80 | COP75 | COP70 | COP60 | COP50 | COP40 | COP30 | COP25 | COP20 | COP10 | Price | Maintenance | MainMajor | COP100 | COP90 | COP80 | COP75 | COP70 | COP60 | COP50 | COP40 | COP30 | COP25 | COP20 | COP10 | LMESC | EESC | DISC | FIN | REINV | ESCYN | FININT | ESCTERM | TOTAL | HRS100 | HRS90 | HRS80 | HRS75 | HRS70 | HRS60 | HRS50 | HRS40 | HRS30 | HRS25 | HRS20 | HRS10 | ESCAmnt | CompServInt | SmardtServInt | [23 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | RATCHET | TENPNTHRS | CATHPRO | CATHFREQ | SSCOND |  | CathInstall
West Fargo School | Montreal | Daniel Rodriguez | West Fargo School | FALSE | 345 | 0.075 | TRUE | Daikin | Screw | 137500 | 5500 | 50000 | TRUE | TRUE | -1 | 0.9979 | 0 | 0 | 0.7994 | 0 | 0 | 0.6035 | 0 | 0 | 0.52 | 0 | 0 | 275000 | 3500 | 20000 | 1.007 | 0 | 0 | 0.7032 | 0 | 0 | 0.4727 | 0 | 0 | 0.3169 | 0 | 0 | 3 | 2 | 10 | 5 | 5 | FALSE | 0 | 0 | 8760 | 0 | 0 | 0 | 0 | 22 | 87 | 154 | 403 | 383 | 0 | 498 | 953 | 137500 | 15 | 10 | TRUE | FALSE | FALSE | Annually | 1500 | Annually | 2000 | Annually | 500 | 2 | 20000 | 1000 | Annually | 0 | 0 | 0 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0 | Annually | 0 | AD120.3E.F | 0
Poland Project | Montreal | Daniel Rodriguez | Poland Project | TRUE | 1600 | 0.10 | TRUE | Carrier | 30XB1300 | 210000 | 7000 | 80000 | TRUE | TRUE | -1 | 3.661 | 0 | 0 | 4.5789 | 0 | 0 | 5.1218 | 0 | 0 | 5.6964 | 0 | 0 | 390000 | 5000 | 20000 | 4.73 | 0 | 0 | 6.392 | 0 | 0 | 9.63 | 0 | 0 | 14.33 | 0 | 0 | 3 | 2 | 10 | 5 | 5 | FALSE | 0 | 0 | 8760 | 2306 | 752 | 1111 | 0 | 1064 | 1366 | 430 | 994 | 307 | 0 | 155 | 275 | 180000 | 10 | 10 | TRUE | FALSE | FALSE | Annually | 1500 | Annually | 1000 | Annually | 2000 | 2 | 0 | 1500 | Annually | 0 | 0 | 0 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0 | Annually | 0 | AD150 | 0
109 Front Street East | Montreal | Marcos Awad | 109 Front Street | FALSE | 470 | 0.11 | TRUE | YORK | YMC2 | 190000 | 4000 | 7000 | FALSE | TRUE | -1 | 0.529 | 0 | 0 | 0.415 | 0 | 0 | 0.300 | 0 | 0 | 0.388 | 0 | 0 | 274586 | 4000 | 6000 | 0.5849 | 0 | 0 | 0.3981 | 0 | 0 | 0.2719 | 0 | 0 | 0.2937 | 0 | 0 | 3 | 2 | 10 | 5 | 5 | FALSE | 0 | 0 | 2320.34 | 0 | 0 | 302.1 | 0 | 327.54 | 136.74 | 111.3 | 164.3 | 239.56 | 0 | 347.68 | 691.12 | 84586 | 15 | 15 | TRUE | FALSE | FALSE | Annually | 0 | Annually | 0 | Annually | 0 | 1 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0 | Annually | 0 | WB125 | 0
Hopital Suroit | Montreal | Marcos Awad | Hopital Suroit | FALSE | 159 | 0.09 | TRUE | TRANE | RTWD | 130000 | 6500 | 50000 | TRUE | TRUE | -1 | 1.067 | 0 | 0 | 0.986 | 0 | 0 | 0.867 | 0 | 0 | 0.800 | 0 | 0 | 150000 | 5500 | 6000 | 0.9483 | 0 | 0 | 0.5482 | 0 | 0 | 0.2889 | 0 | 0 | 0.2564 | 0 | 0 | 3 | 2 | 10 | 5 | 5 | FALSE | 0 | 0 | 4174.5 | 0 | 0 | 46.2 | 0 | 433.4 | 468.6 | 489.5 | 407 | 856.9 | 0 | 658.9 | 814 | 20000 | 10 | 15 | TRUE | FALSE | FALSE | Annually | 400 | Annually | 500 | Annually | 200 | 1 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | Annually | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0 | Annually | 0 | WB044 | 0

## Changelog (hidden)
Change Log
Date | Who | Detail
2017-03-02 | MH | Modded form to have more default values in drop dows.
Fixed =IFNA issues to = IFERROR to accommodate excel 2010 and below
100 and 50 point loadpoint %'s linked to 10 point from 4 point
Save as name appears in dropdown list LoadNameList.
2017-03-21 | MH | Baseline changed to include all scheduled main tasks. (was using OR logic instead of AND)
29/2/2017 | MH | Enabled ability to compare IPLV values. Enter IPLV in 100%, Bin all hours together. I would assume enter 8760. Fix was to get rid of associated errors. In KW calc cells
2017-05-17 | MH | Smardt model box on form. Saves.
Puts models for smardt and baseline on TCO Worksheet
Fixed Power equation using incorrect cells
Removed troublesome redundant ESC code
2017-11-14 | MH | Changed Oil heater to oil system energy draw
Added Cathodic system once only installation to go with ongoing protection costs
2018-01-23 | MH | Deleted Smardt logos, Jared has added TCOM logo
2018-03-03 | MH | Extended major maintenance to 20 years for smardt and baseline